Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303.571.3284

Donna.L.George@xcelenergy.com

September 22, 2023

City of Arvada Community Development Department

8101 Ralston Road

Arvada, CO 80001-8101

Attn:	Carol Ibanez

Re:  	Candelas Filing No. 1, Amendment No. 4 – Case # DA2023-0078

Public Service Company of Colorado’s (PSCo) Right of Way and Permits Referral Desk has reviewed the plat and plan for Candelas F1 A4 and requests that the following language or plat note is added to the preliminary and final plats for the subdivision:

Public Service Company of Colorado (PSCo) and its successors reserve the right to require additional easements and to require the property owner to grant PSCo an easement on its standard form.

Please be aware PSCo owns and operates existing natural gas and underground electric distribution facilities around most of the perimeter of these lots. The property owner/developer/ contractor must complete the application process for any new natural gas or electric service, or modification to existing facilities via xcelenergy.com/InstallAndConnect. It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details.

Additional easements may need to be acquired by separate document for new facilities (i.e. transformers) – be sure to have the Designer contact a Right-of-Way and Permits Agent.

As a safety precaution, PSCo would like to remind the developer to contact Colorado 811 for utility locates prior to construction.

Donna George

Right of Way and Permits

Public Service Company of Colorado dba Xcel Energy

Office:  303-571-3306 – Email:  Donna.L.George@xcelenergy.com