Siting and Land Rights

Right of Way & Permits

1123 West 3rd Avenue

Denver, Colorado 80223

Telephone: 303.571.3306

Facsimile: 303. 571.3284

donna.l.george@xcelenergy.com

July 10, 2017

City of Arvada Community Development Department

8101 Ralston Road

Arvada, CO  80001-8101

Attn:	Will Tucker

Re:  	Apex Estates, Case # DA2017-0053

Public Service Company of Colorado’s (PSCo) Right of Way and Permits Referral Desk has reviewed the annexation, rezone, preliminary plat, and preliminary development plans for Apex Estates.  Please be advised that PSCo has existing natural gas and electric facilities within the areas indicated in this proposed rezone and annexation. Public Service Company has no objection to this proposed rezone, contingent upon PSCo’s ability to maintain all existing rights and this amendment should not hinder our ability for future expansion, including all present and any future accommodations for natural gas transmission and electric transmission related facilities.

PSCo is requesting that the City of Arvada send us notification after approval of the proposed annexation has been finalized. This notification should be sent to Sandi Cardenas (303-571-3635) at:  Xcel Energy, 1123 West 3rd Avenue, Denver, Colorado  80223 or sandra.cardenas@xcelenergy.com. This will allow our mapping department to make the necessary updates to our mapping system.

Public Service Company acknowledges the platted utility easements; however, requests that the front-lot easements be reduced to 6-feet for natural gas facilities and the rear-lot easements be increased to 8-feet to accommodate the remainder of the dry utilities including electric lines, transformers, and pedestals. These changes may be applied to Tracts A and B.

PSCo requests that the above be changed in the “Easements” plat note, and the following be added to the preliminary and final plats:

These easements are dedicated to the City of Arvada for the benefit of the applicable utility providers for the installation, maintenance, and replacement of electric, gas, television, cable, and telecommunications facilities (Dry Utilities). Utility easements shall also be granted within any access easements and private streets in the subdivision. Permanent structures, improvements, objects, buildings, wells, and other objects that may interfere with the utility facilities or use thereof (Interfering Objects) shall not be permitted within said utility easements and the utility providers, as grantees, may remove any Interfering Objects at no cost to such grantees, including, without limitation, vegetation. Public Service Company of Colorado (PSCo) and its successors reserve the right to require additional easements and to require the property owner to grant PSCo an easement on its standard form.

The property owner/developer/contractor must complete the application process for any new gas or electric service, or modification to existing facilities via FastApp, Fax, Email, or USPS (go to:

https://www.xcelenergy.com/start,_stop,_transfer/new_construction_service_activation_for_builders). It is then the responsibility of the developer to contact the Designer assigned to the project for approval of design details. Additional easements may need to be acquired by separate document for new facilities.

As a safety precaution, PSCo would like to remind the developer to call the Utility Notification Center at 1 800-922-1987 for utility locates prior to construction.

If you have any questions about this referral response, please contact me at (303) 571-3306.

Donna George

Contract Right-of-Way Referral Processor

Public Service Company of Colorado